## Solar Energy Balance
Solarcycle Tiny Home Solar Sizing (4X230Ah 24ft Trailer) | [6 empty] | Cost
Power Consumption
DC Appliance | Watts | QTY | Hrs/Day | Wh/Day | Days/Week | Wh/Week
Phone | 10 | 1 | 1 | 10 | 7 | 70
Inverter (Sol-Ark 15K-2P-N) idle | 60 | 1 | 24 | 1440 | 7 | 10080 | 4602.98
Other Small Devices | 10 | 2 | 1 | 20 | 7 | 140
5G Gateway | 14 | 1 | 24 | 336 | 7 | 2352
Rechargeable tools | 120 | 1 | 1 | 120 | 1 | 120
Charge Controller Self-consumption | 2.5 | 1 | 24 | 60 | 0 | 0
AC Appliance | Watts | QTY | Hrs/Day |  | Days/Week | Wh/Week
Panasonic ERV FV-04VE1 | 21 | 1 | 24 | 504 | 7 | 3528
2011 17" MacBook Pro | 65 | 1 | 8 | 520 | 7 | 3640 | Smart Socket to Schedule Disconnect Laptop Wall adapter 1 day a week?
LED Lights Feit 40W | 6.5 | 3 | 8 | 156 | 7 | 1092
Panasonic Bathroom Fan | 19.4 | 1 | 1 | 19.4 | 7 | 135.8
Frigidaire FFET1022UV Fridge | - | - | - | 811 | 7 | 5677
500W Heater | 500 | 1 | 4 | 2000 | 7 | 14000
Frigidaire FFRE053WA1 A/C | 410 | 1 | 0 | 0 | 7 | 0
Separett Tiny | 1.7 | 1 | 24 | 40.8 | 7 | 285.6
Incinolet Toilet | 1000 | 1 | 2 | 2000 | 0 | 0
SmartAsh | 1680 | 1 | 0.5 | 840 | 1 | 840
GE Washer/Dryer combo 2.4cu ft | 1320 | 1 | 3 | 3960 | 1 | 3960
Hair Dryer | 1104 | 1 | 0.75 | 828 | 5 | 4140
Zojirushi EP-PBC10 Skillet | 1270 | 1 | 0.25 | 317.5 | 1 | 317.5
K&H Single Induction Burner | 1735 | 1 | 0.25 | 433.75 | 5 | 2168.75
Parasitic Loss (wall sockets/smoke CO detector) | 9 | 1 | 24 | 216 | 7 | 1512
Rabbit Air A3 Air Purifier | 60 | 1 | 8 | 480 | 0 | 0
Ancona UC64NL 30 inch Range Hood | 135 | 1 | 0.5 | 67.5 | 5 | 337.5
Panasonic NN-CD87KS 4 in 1 Oven | 1350 | 1 | 0.25 | 337.5 | 7 | 2362.5
Samsung 55" TV | 120 | 1 | 1.5 | 180 | 1 | 180
Water Boiler | 957 | 1 | 0.1 | 95.7 | 7 | 669.9 | *Energy saving equivalent with Silicon Carbide Diodes
Soup Maker | 950 | 1 | 0.25 | 237.5 | 1 | 237.5
Angel Juicer | 180 | 1 | 0.25 | 45 | 1 | 45
Ariston Andris 8 Gallon Water Heater | 1440 | 1 | 2.4 | 3456 | 7 | 24192 | 13 Min shower max
Rice Cooker | 600 | 1 | 0.3 | 180 | 1 | 180
Blender | 770 | 1 | 0.02 | 15.4 | 1 | 15.4
Egg Cooker | 333 | 1 | 0.16 | 53.28 | 1 | 53.28
Sub Total | [5 empty] | 82331.73
TOTAL: Multiply by 1.1 to compensate for 10% unforseen losses (self consumption already accounted for) | [5 empty] | 90564.903
Battery Bank Voltage | [5 empty] | 48
Ah Requitement/Week: Divide Total by Battery Voltage | [5 empty] | 1886.7688
Average Ah Requirement/Day: Divide Ah Requirement by 7 days | [5 empty] | 269.5384
Battery Bank Sizing
Max Number of extreme low sun days desired to withstand less than |  |  |  | 2510.5029 | Watts | 1.8333 | 24hours no sun + overnight until following morning
TOTAL Ah: Ah Requirements X Number of Days | [5 empty] | 494.1537
Depth of Discharge Desired (Do Not Exceed .8 Max = 80% drain) | [5 empty] | 0.8
Required Battery Capacity: Divide TOTAL Ah by Depth of Discharge | [5 empty] | 617.6922
Average winter time multiplier | [5 empty] | 1.11
Ambient F | Temp C | Multiplier
80 | 26.7 | 1
70 | 21.2 | 1.04
60 | 15.6 | 1.11
50 | 10 | 1.19
40 | 4.4 | 1.3
30 | -1.1 | 1.4
30 | -6.7 | 1.56
TOTAL Battery Capacity: Multiply Final Battery Capacity by multiplier | [5 empty] | 685.6383
Ah Capacity of your chosen battery | [5 empty] | 230 | 7630
Divide Total battery capacity by chosen battery capacity | [5 empty] | 2.981
Total number of batteries; Round up to nearest whole number | [5 empty] | 3 | 22890
Solar Array Sizing
Trailer size ft | [5 empty] | 24
Average Sun hours/day in your area (See Chart) | [5 empty] | 4.6 | Lowest Possible
Total Amperage to battery required: Divide daily Ah requirement by Sun hours/day | [5 empty] | 58.5953
Total Watts to battery required: Multipy Amperage to battery required by battery Voltage | [5 empty] | 2812.5746 | Must be precisly aligned with the sun
Max Charge Controller Voltage 100-525V MPPT range (Morningstar Tristar MPPT 600V) | [5 empty] | 550 | 1575.98
Max Solar Panel Voltage (REC ALPHA PURE 410) | [5 empty] | 42.7 | 370.98
Solar Panel Open Circuit Voltage | [5 empty] | 49
Max number of Solar panels in series | [5 empty] | 10
Number of solar panels in series required | [5 empty] | 7
Total series Solar panel Voltage @ 5% max tolerance | [5 empty] | 313.845
Solar Panel Max peak amerage | [5 empty] | 9.61
Solar Panel Series Assembly nominal Wattage | [5 empty] | 2872.429
Number of Solar Panel series assemblies in parallel (7 total panels Max for 24 ft trailer) | [5 empty] | 1
Max Current to each battery (50-100A) recommended | [5 empty] | 19.9474
[7 empty] | 2510.5029 | Total Wh on a cloudy day
Total Noimal power system output (Watts) | [5 empty] | 2872.429 | 545.7615 | Max Watts on a cloudy day
[7 empty] | 12937.8433 | Average Wh consumption/day
Total Panels | [5 empty] | 7 | 2596.86
System Accessories | [6 empty] | 437.16 | with $7877.62 discount
Estimated Cost (Solar/Battery System Components) | [6 empty] | 32102.98

## Max Number of Days Without Sun
Solarcycle Tiny Home Solar Sizing (4X230Ah 24ft Trailer) | [6 empty] | Cost
Power Consumption
DC Appliance | Watts | QTY | Hrs/Day | Wh/Day | Days/Week | Wh/Week |  | Current
Phone | 10 | 1 | 1 | 10 | 5.1 | 51 |  | 0.083333
Inverter (Sol-Ark 15K-2P-N) idle | 60 | 1 | 24 | 1440 | 5.1 | 7344 | 6999 | 0.5
Other Small Devices | 10 | 2 | 1 | 20 | 0 | 0 |  | 0.083333
5G Gateway | 14 | 1 | 24 | 336 | 5.1 | 1713.6 |  | 0.11667
Rechargeable tools | 120 | 1 | 1 | 120 | 0 | 0 |  | 1
Charge Controller Self-consumption | 2.5 | 1 | 24 | 60 | 5.1 | 306 |  | 0.020833
AC Appliance | Watts | QTY | Hrs/Day |  | Days/Week | Wh/Week
Panasonic ERV FV-04VE1 | 21 | 1 | 24 | 504 | 5.1 | 2570.4 | 795 | 0.175
2011 17" MacBook Pro | 65 | 1 | 8 | 520 | 5.1 | 2652 |  | 0.54167
LED Lights Feit 40W | 6.5 | 3 | 8 | 156 | 5.1 | 795.6 | 34.2 | 0.054167
Panasonic Bathroom Fan | 19.4 | 1 | 1 | 19.4 | 5.1 | 98.94 | 154 | 0.16167
Frigidaire FFET1022UV Fridge | - | - | - | 811 | 5.1 | 4136.1 | 679 | 1.5
500W Heater | 500 | 1 | 4 | 2000 | 5.1 | 10200 | 349.99 | 4.1667
Frigidaire FFRE053WA1 A/C | 410 | 1 | 0 | 0 | 5.1 | 0 | 229 | 3.4167
Separett Tiny | 1.7 | 1 | 24 | 40.8 | 5.1 | 208.08 |  | 0.014167
Incinolet Toilet | 1000 | 1 | 2 | 2000 | 0 | 0 | 779 | 8.3333
SmartAsh | 1680 | 1 | 0 | 0 | 1 | 0 | 3790 | 14
GE Washer/Dryer combo 2.4cu ft | 1800 | 1 | 0 | 0 | 1 | 0 | 1259 | 15
Hair Dryer | 1104 | 1 | 0 | 0 | 5.1 | 0 |  | 9.2
Zojirushi EP-PBC10 Skillet | 1270 | 1 | 0.25 | 317.5 | 0 | 0 | 109.99 | 10.5833
K&H Single Induction Burner | 1735 | 1 | 0.25 | 433.75 | 1 | 433.75 | 138.74 | 14.4583
Parasitic Loss (wall sockets/smoke CO detector) | 9 | 1 | 24 | 216 | 5.1 | 1101.6 |  | 0.075
Rabbit Air A3 Air Purifier | 60 | 1 | 8 | 480 | 1 | 480 | 749.95 | 0.5
Ancona UC64NL 30 inch Range Hood | 141.5 | 1 | 0.5 | 70.75 | 0 | 0 | 269.45 | 1.1792
Panasonic NN-CD87KS 4 in 1 Oven | 1350 | 1 | 0.1 | 135 | 5.1 | 688.5 | 399.99 | 11.25
Samsung 55" TV | 120 | 1 | 0 | 0 | 5.1 | 0 | 697.99 | 1
Water Boiler | 957 | 1 | 0.1 | 95.7 | 5.1 | 488.07 | 69.99 | 7.975
Soup Maker | 950 | 1 | 0 | 0 | 2 | 0 | 130 | 7.9167
Angel Juicer | 180 | 1 | 0 | 0 | 3 | 0 |  | 1.5
Bosh Tronic 3000T 7 Gallon Water Heater | 1440 | 1 | 1.9 | 2736 | 2 | 5472 | 209.99 | 12
Rice Cooker | 600 | 1 | 0 | 0 | 1 | 0 |  | 5
Egg Cooker | 333 | 1 | 0 | 0 | 1 | 0 |  | 2.775
Sub Total | [5 empty] | 38739.64
TOTAL: Multiply by 1.1 to compensate for 10% unforseen losses (self consumption already accounted for) | [5 empty] | 42613.604
Battery Bank Voltage | [5 empty] | 48
Ah Requitement/Week: Divide Total by Battery Voltage | [5 empty] | 887.7834
Average Ah Requirement/Day: Divide Ah Requirement by 7 days | [5 empty] | 126.8262 |  | Inverter | 62.5A Max
[8 empty] | Breaker 1 20A GFCI | 19.6592 | living room/bath fan/toilet fan/bath socket/heater/Sink Counter Socket | R
Battery Bank Sizing | [7 empty] | Breaker 2 15A AFCI/GFCI | 13.1667 | Lights/Loft Socket/TV/Smoke Detector/Fridge/Range Hood/Inside Closet/Outside Closet/ERV | L
Max Number of extreme low sun days desired to withstand less than |  |  |  | 1323.4039 | Watts | 5.1 |  | Breaker 3 20A GFCI | 14 | Outdoor Socket | L
|  |  |  | 46.0726 | % Power |  |  | Breaker 4 20A GFCI | 18.5583 | Counter Socket Right | L
TOTAL Ah: Ah Requirements X Number of Days | [5 empty] | 646.8136 |  | Breaker 5/6 30A Dual | Optional | 50A Connector Outlet
[8 empty] | Breaker 7 20A GFCI | 15 | Washer Dryer | R
Depth of Discharge Desired (Do Not Exceed .8 Max = 80% drain) | [5 empty] | 0.8 | Overdischarge | Breaker 8 20A GFCI | 12 | Water Heater | R
Required Battery Capacity: Divide TOTAL Ah by Depth of Discharge | [5 empty] | 808.517 |  | Breaker 9
[8 empty] | Breaker 10 20A GFCI | 19.1667 | Counter Socket Left | L
Average winter time multiplier | [5 empty] | 1.11 |  | Breaker 11 20A GFCI | 14.4583 | Stovetop | L
Ambient F | Temp C | Multiplier | [5 empty] | tot current max | 126.0092 | Amps | 15121.1
80 | 26.7 | 1 | [5 empty] | tot current typ | 44.8258 | Amps | 5379.1
70 | 21.2 | 1.04 | [5 empty] | tot L | 46.1833
60 | 15.6 | 1.11 | [5 empty] | tot R | 46.6592
50 | 10 | 1.19
40 | 4.4 | 1.3
30 | -1.1 | 1.4
30 | -6.7 | 1.56
TOTAL Battery Capacity: Multiply Final Battery Capacity by multiplier | [5 empty] | 897.4539
Ah Capacity of your chosen battery | [5 empty] | 230 | 4366.75
Divide Total battery capacity by chosen battery capacity | [5 empty] | 3.902 | Must be precisly aligned with the sun
Total number of batteries; Round up to nearest whole number | [5 empty] | 4 | 17467
Solar Array Sizing
Trailer size ft | [5 empty] | 24
Average Sun hours/day in your area (See Chart) | [5 empty] | 4.6 | Lowest Possible
Total Amperage to battery required: Divide daily Ah requirement by Sun hours/day | [5 empty] | 27.5709
Total Watts to battery required: Multipy Amperage to battery required by battery Voltage | [5 empty] | 1323.4039
Max Charge Controller Voltage (Schneider MPPT 80 600) | [5 empty] | 550 | 0
Max Solar Panel Voltage (REC370AA Black) | [5 empty] | 42.7 | 370.98
Solar Panel Open Circuit Voltage | [5 empty] | 49
Max number of Solar panels in series | [5 empty] | 10
Number of solar panels in series required | [5 empty] | 7
Total series Solar panel Voltage @ 5% max tolerance | [5 empty] | 313.845
Solar Panel Max peak amerage | [5 empty] | 9.61
Solar Panel Series Assembly nominal Wattage | [5 empty] | 2872.429
Number of Solar Panel series assemblies in parallel (6 total panels Max for 24 ft trailer) | [5 empty] | 1
Max Current to each battery (50-100A) recommended | [5 empty] | 14.9606
[7 empty] | 2510.5029 | Total Wh on a cloudy day
Total Noimal power system output (Watts) | [5 empty] | 2872.429 | 545.7615 | Max Watts on a cloudy day
[7 empty] | 6087.6577 | Average Wh consumption/day
Total Panels | [5 empty] | 7 | 2596.86
System Accessories | [6 empty] | 437.16
Estimated Cost (Solar/Battery System Components) | [6 empty] | 27500.02
Tot Sys Cost | [6 empty] | 38345.3